## Panelboard Chk
| SBC Project No: |  |  | Page | of
| Institution or Campus: |  |  | Date:
Building: |  |  |  | Tests
Installer: |  |  |  | run by:
System/Unit Identifier:
Location:
ITEM |  | PANEL | PANEL | PANEL | PANEL
Room sprinkler
Pipes above panel
Room air conditioned
NEC code space
Conduits secured
Fire caulking
Ground buss
MCB/MLO
kAIC rating
Panel Manufacturer
Panel model number
Panel circuits ID
Wire colors
One wire per breaker
Wires neatly terminated
Spare breakers off
Panel clean
Measurements
A amps
B amps
C amps
N amps
Ground amps
A-N volts
B-N volts
C-N volts
A-B volts
A-C volts
B-C volts
N-G volts